Assembly E-1

Panel+ over Framing/Sheathing

D	 – Sheathing (Exterior Gypsum, OSB, Plywood)

K	 – Old Mill Polylaminate Reinforcing Fabric

J	 – Old Mill Air & Water Barrier

M	 – Old Mill Brick & Panel Adhesive or Stone Adhesive

L	 – Old Mill EPS Foam Panel

P	 – Finish (Thin Brick, Stone, Tile or Manufactured Stone)

O	 – Old Mill Colored Pointing Mortar or Type S Masonry Mortar